## Slide 1: High power – short duration PVI
Nándor Szegedi
Heart and Vascular Center, Semmelweis University
Budapest, Hungary

## Slide 2
 | Nemám konflikt zájmů | Mám konflikt zájmů | Specifikace konfliktu (vyjmenujte subjekty, firmy či instituce, se kterými Vaše spolupráce může vést ke konfliktu zájmů)
Zaměstnanecký poměr | X |  | 
Vlastník / akcionář | X |  | 
Konzultant | X |  | 
Přednášková činnost | X |  | 
Člen poradních sborů (advisory boards) | X |  | 
Podpora výzkumu / granty | X |  | 
Jiné honoráře (např. za klinické studie či registry) | X |  | 

## Slide 3: AGENDA
Catheter technology
Study results
Own resuts
Notes: The angled irrigation holes at the distal and proximal ends of the QDOT MICRO™ Catheter ablation tip provide for more global cooling around the entire tip.

## Slide 4: AGENDA
Catheter technology
Study results
Own resuts
Notes: The angled irrigation holes at the distal and proximal ends of the QDOT MICRO™ Catheter ablation tip provide for more global cooling around the entire tip.

## Slide 5
Notes: When a QMODE Plus application is activated, a two second pre-RF delay begins for the high flow rate to cool the surface tissue prior to the onset of radiofrequency delivery.
After the two second delay, the energy quickly ramps up to ninety Watts and is automatically terminated after four seconds.
At the end of each application, the high flow continues for four seconds.
Ninety Watts is delivered for the entire four seconds if the target temperature is not reached.

## Slide 6
Notes: If, during the four second application, the target temperature is reached, the power is modulated down to prevent overheating.
The power continues to be modulated in response to the temperature measured for the duration of the application.

## Slide 7: AGENDA
Catheter technology
Study results
Own resuts
Notes: The angled irrigation holes at the distal and proximal ends of the QDOT MICRO™ Catheter ablation tip provide for more global cooling around the entire tip.

## Slide 8: Barkagan et al., JCE, 2018

## Slide 9: Leshem et al., JACC EP, 2018

## Slide 10: Naniwadekar et al., PACE, 2021

## Slide 11: Kottmayer et al., Europace, 2020

## Slide 12: Kewcharoen, JCE, 2020. (AF free survival)
Observational studies
RCT

## Slide 13: Barkagan et al., JCE, 2018
Surrounding tissues are less affected / harmed (lung, esophagus)

## Slide 14: Vassallo et al., JCE, 2019

## Slide 15
Takashi Kaneshiro. Circulation: Arrhythmia and Electrophysiology. Characteristics of Esophageal Injury in Ablation of Atrial Fibrillation Using a High-Power Short-Duration Setting, Volume: 13, Issue: 10, DOI: (10.1161/CIRCEP.120.008602)
271 patients
45-50W vs. 20-30W
Esophageal thermal injury is more frequent with HPSD, BUT rarely reaches the mucosal layer

## Slide 16: Kewcharoen, JCE, 2020. (Complications)
No acute complication (stroke-death-AF a 3 year)

## Slide 17: Stabile et al., PACE, 2021
46 patients, vHPSD
3829 lesions
Successful lesion def: >10 Ohm impedance drop
Median values:
ID: 10.6 (IQR 8.6–13.1) Ohm
CF: 9 (5.8–13.8) g
Max Temp: 46.8 (44.1–49.8) ◦C.
CF and the maximum
temperature were independent predictors of ID
CF of 8 g and a maximum temperature of 47◦C are the optimal cut-off values to predict adequate lesion formation

## Slide 18: Bourier et al., JCE, 2019
Above 30 g CF value, there is no relevant change in AI / LSI value (30W for 30 sec applications)
Optimal CF range: 10-20 (10-30) g even with 30 W power

## Slide 19: Clinical Experience Learned from Latest EU Trials
SMART-SF Study1
QDOT-MICRO Study2
QDOT-FAST Study3

## Slide 20: Tilz et al., IJH Heart and Vasc, 2021

## Slide 21: AGENDA
Catheter technology
Study results
Own resuts
Notes: The angled irrigation holes at the distal and proximal ends of the QDOT MICRO™ Catheter ablation tip provide for more global cooling around the entire tip.

## Slide 22: Own results - Patient population
Parameter | Study population (n= 103)
Age | 61 (40-75)
Male | 59
Hypertension | 70%
Diabetes | 15%
Heart failure | 8%
Stroke / TIA | 8%
CHADS-VASc score | 2 (1-3)
Paroxysmal AF | 66%

## Slide 23: Our approach
CF: 5-15 (20) g
QMODE+ for the whole circle

## Slide 24: Procedure time (min)

## Slide 25: Left atrial dwelling time (min)

## Slide 26: RF applications and RF time

## Slide 27: First pass isolation in case of left sided PV-s

## Slide 28: First pass isolation in case of right sided PV-s

## Slide 29: Complications
Esophageal temperature rise:
  No ET probe is used in our institute
  Patient feedback – similar at 30W and 50W, better tolerability at 90W

## Slide 30: Conclusion
Promising new technology
Seems safe
Quick
Long-term efficacy
  50 W yes
  90 W results in large populations are lacking

## Slide 31: Thank you for your attention!
104278-181215
Notes: Let’s take a look at how to connect the system.

## Slide 32
©Johnson & Johnson Medical NV/SA 2019 | QDOT MICRO™ Catheter | January 2019
Temperature Display
Temperature display in Catheter View window
Notes: The temperatures measured by the six thermocouples in the tip of the QDOT MICRO™ catheter are displayed in the catheter view window of the CARTO® 3 System.
When the catheter tip is displayed in a two dimensional view, the image is flattened out to visualize the entire tip at once.

## Slide 33: Stabile et al., PACE, 2021

## Slide 34: Stabile et al., PACE, 2021

## Slide 35: Reddy et al., JACC EP, 2019
Acute reconnection: 15/52 patients